## Sheet1
| System Specifications | RG-S2915-48GT4MS-L | RG-S2915-24GT4MS-L | RG-S2915-24GT4MS-P-L | RG-S2915-10GT2MS-P-L
| Switching Capacity | 116Gbps | 68Gbps | 68Gbps | 30Gbps
| Packet Forwarding Rate | 87 Mpps | 51 Mpps | 51 Mpps | 22.5 Mpps
| Fixed Service Ports | 48 × 10/100/1000Base-T Ethernet ports with auto-negotiation 4 × 2.5GE/1GE SFP ports | 24 × 10/100/1000Base-T Ethernet ports with auto-negotiation 4 × 2.5GE/1GE SFP ports | 24 ×10/100/1000Base-T Ethernet ports with auto-negotiation 4 × 2.5G/1GE SFP ports | 10 × 10/100/1000Base-T Ethernet ports with auto-negotiation 2 × 2.5GE/1GE SFP ports
| Fixed Management Ports | 10 × 10/100/1000Base-T Ethernet ports with auto-negotiation2 × 2.5GE/1GE SFP ports
| Cable Hot Swapping | Supported by service interfaces and power ports
| CPU | ARM A9 CPU, 1.2GHz
| SDRAM | 512MB
| MAC Address | 16000 | 16000 | 16000 | 16000
| ARP Table | 512 | 512 | 512 | 512
| Jumbo Frame | 9126 | 9126 | 9126 | 9126
| Routing Table Size (IPv4/IPv6) | 64 | 64 | 64 | 64
| ACL Entries | 500 | 500 | 500 | 500
| Dimensions (W × D × H) | 440 mm × 220 mm × 43.5 mm | 440 mm × 220 mm × 43.5 mm | 440 mm × 292 mm × 43.6 mm | 297 mm × 170 mm × 44.5 mm
| Weight | 2.8 kg | 2.5 kg | 2.8 kg | 2.5 kg
| Rack Size | 1 RU
| Installation Mode | Mounted on a workbench/wall/in a rack (cabinet)
| Number of Fixed Power Modules | 1 | 1 | 1 | 1
| Maximum Power Consumption | 30 W | 15.6 W | 403 W (the PoE power is 370 W) | 141 W (the PoE power is 125 W)
| Rated Input Voltage Range | 100 V AC to 240 V AC, 50 Hz to 60 Hz
| Maximum Input Voltage Range | 90 V AC to 264 V AC, 50 Hz to 60 Hz
| PoE | Not supported | Not supported | PoE/PoE+ supported | PoE/PoE+ supported
| Number of Fixed Fans | 2 | 0 | 2 | 1
| Heat Dissipation | Air-cooled heat dissipation | Air-cooled heat dissipation | Air-cooled heat dissipation | Air-cooled heat dissipation
| Noise | ≤ 37 dB | Fanless | ≤ 39 dB | ≤ 37 dB
| Fan Speed Adjustment | Supported | N/A | Supported | Supported
| Operating Temperature | 0°C to 45°C
| Storage Temperature | -40°C to 70°C
| Temperature Monitoring | Supported
| Temperature Alarm | Supported
| Overtemperature Protection | Supported
| Operating Humidity | 10% to 90% RH (non-condensing)
| Storage Humidity | 5% to 95% RH (non-condensing)
Software Specifications
Layer 2 Features | IEEE 802.1Q VLAN | Port-based VLAN Voice VLAN
| LLDP | LLDP
| MAC | Address filtering Static addresses
| RLDP | RLDP
| Spanning Tree | IEEE802.1d STP IEEE802.1w RSTP
| QinQ | Basic QinQ Flexible QinQ
| IGMP Snooping | IGMP v1,v2 Snooping
Layer 3 Features | ARP | ARP proxy ARP Entry Timeout
Interface Features | Link Aggregation | Load balancing mode configurable LACP
| Mirror | Common service ports and aggregated ports can be configured as the source and destination ports of mirroring. One-to-many mirroring, many-to-one mirroring, RSPAN
| Ethernet | Jumbo frames
Application Protocol Reatures | DHCP | DHCP server DHCP client DHCP snooping DHCP relay
| DNS | DNS Client
| NTP | NTP Client NTP Server
| TFTP | TFTP Client
Routing Protocol Specification | IP Routing | IPv4/IPv6 static routing RIP, RIPng
ACL and QoS | ACL | Standard IP ACLs (IP-based hardware ACLs) Extended IP ACLs (hardware ACLs based on IP addresses or TCP/UDP port IDs) MAC-based extended ACLs (ACLs based on source MAC addresses or destination MAC addresses) ACL 80 Global ACLs ACL redirection
| QoS | Flow-based rate limiting on the ingress Port rate limiting IEEE 802.1p/DSCP traffic classification Eight priority queues per port SP, WRR, DRR, SP+WFQ, SP+WRR, SP+DRR queue scheduling
Security Features | Security Features | Filtering of invalid MAC addresses Hardware CPP, NFPPIP source guard IEEE 802.1X authentication RADIUS and TACACS+
OAM Features | PoE | IEEE 802.3af and 802.3at power supply standards Automatic and energy saving power supply management mode Uninterrupted power supply in hot start mode Scheduled powering on /off PoE ports on the basis of time policy Port priority Note: Only RG-S2915-24GT4MS-P-L and RG-S2915-10GT2MS-P-L support the PoE function.
Cloud Services | Ruijie Cloud | Ruijie Cloud
Management Features | Management | SNMP, CLI (telnet/console), syslog/debug, NTP, TFTP, SSH, Web, and sFLOW